## dsm_placeholder_review
DSM ID (monitor C code) | Proposed SMAX canonical name | Confidence | Alternatives / notes (if not HIGH) | Verified | C source file(s) (cursesmonitor/src) | Display JSON file(s)
DSM_AC_TEMP_C | DSM:corcon:CORR_PACU_STATUS_X:RETURN_AIR_TEMP_F | MEDIUM | Multiple temp fields exist (RETURN_AIR_TEMP_F, SUPPLY_AIR_TEMP_F, MIXED_AIR_TEMP_F, OUTSIDE_AIR_TEMP_F) — pick the one that matches the physical sensor intended |  | aCMonitor.c | aCmonitor.json
DSM_AC_SMOKE | DSM:corcon:CORR_PACU_STATUS_X:RETURN_DUCT_SMOKE_B | MEDIUM | Also SUPPLY_DUCT_SMOKE_B and ANALOG_RACK_SMOKE_V14_B/DIGITAL_RACK_SMOKE_V9_B exist — pick correct sensor |  | aCMonitor.c | aCmonitor.json
DSM_AC_FAN_STATUS | DSM:corcon:CORR_PACU_STATUS_X:RETURN_FAN_STARTED_B | MEDIUM | Also SUPPLY_FAN_STARTED_B, SUPPLY_FAN_ENABLE_B, RETURN_FAN_ENABLE_B exist |  | aCMonitor.c | aCmonitor.json
DSM_AC_COMPRESSOR1 | DSM:corcon:CORR_PACU_STATUS_X:COMPRESSOR_1_ALARM_B | MEDIUM | Also COMPRESSOR_1_STAGE_A_B / STAGE_B_B exist — pick alarm vs stage status |  | aCMonitor.c | aCmonitor.json
DSM_AC_COMPRESSOR2 | DSM:corcon:CORR_PACU_STATUS_X:COMPRESSOR_2_ALARM_B | MEDIUM | Also COMPRESSOR_2_STAGE_A_B / STAGE_B_B exist |  | aCMonitor.c | aCmonitor.json
DSM_AC_HUMIDITY | DSM:corcon:CORR_PACU_STATUS_X:RETURN_AIR_REL_HUM_F | MEDIUM | Also OUTSIDE_AIR_REL_HUM_F, SUPPLY_AIR_REL_HUM_F exist |  | aCMonitor.c | aCmonitor.json
DSM_PACU_STATUS | (no match found) | NO MATCH | No single composite "status" field; CORR_PACU_STATUS_X has 50+ individual fields. Needs Marc to pick specific field(s) or this cell should be dropped/replaced with multiple cells |  | aCMonitor.c | aCmonitor.json
DSM_SMA_TEMP_F | DSM:colossus:SMA_METEOROLOGY_X:TEMP_F | HIGH |  | x | airHandler.c | airhandler.json
DSM_SMA_HUMIDITY_F | DSM:colossus:SMA_METEOROLOGY_X:HUMIDITY_F | HIGH |  | x | airHandler.c | airhandler.json
DSM_ESTOP_COMMAND_S | DSM:acc{ant}:DSM_ESTOP_COMMAND_S | HIGH |  | x | antMonitor.c; antPage2.c | antdrive.json
DSM_AS_PROJECT_ID_L | DSM:hal9000:DSM_AS_PROJECT_ID_L | HIGH |  | x | arrayMonitor.c; hangarPage.c; projectpage.c | arraymonitor.json; hangar.json; project.json
DSM_AS_PROJECT_OBSERVER_C30 | DSM:hal9000:DSM_AS_PROJECT_OBSERVER_C30 | HIGH |  | x | arrayMonitor.c; hangarPage.c; projectpage.c | arraymonitor.json; hangar.json; project.json
DSM_AS_PROJECT_OPERATINGLOCATION_C256 | DSM:hal9000:DSM_AS_PROJECT_OPERATINGLOCATION_C256 | HIGH |  | x | arrayMonitor.c; projectpage.c | arraymonitor.json; project.json
DSM_SCANS_REMAINING | DSM:hal9000:DSM_AS_SCANS_REMAINING_L | HIGH |  | x | arrayMonitor.c | arraymonitor.json
DSM_FULLPOL_STATUS | (no match found) | NO MATCH | No full-polarization status field found in DSM; may need to check "polar" fields: DSM_AS_POLAR_MODE_S / DSM_OBS_POLAR_MODE_S under hal9000 as loose candidates |  | arrayMonitor.c | arraymonitor.json
DSM_SWARM_STATUS | (no match found) | NO MATCH | No single SWARM status field; closest is per-board DSM:<roach2-idx>:SMAINIT_REPORT_X:PRG_STATUS_V24_V6_L (per-board init status, not overall status) |  | arrayMonitor.c | arraymonitor.json
DSM_DUT | (no match found) | NO MATCH | DUT1 (delta-UT) not found in DSM; may live in "reference" or "telescope" namespace, or not tracked at all |  | arrayMonitor.c | arraymonitor.json
DSM_TAU225 | DSM:colossus:DSM_CSO_225GHZ_TAU_F | MEDIUM | Alternative: weather:forecast:cso:tau225 (forecast value) vs this raw CSO feed — pick which source is intended |  | arrayMonitor.c | arraymonitor.json
DSM_TAU350 | DSM:colossus:DSM_CSO_350MICRON_TAU_SCALED_F | HIGH |  | x | arrayMonitor.c; weather.c; weatherPage2.c | arraymonitor.json; weather.json
DSM_BDC_4_8_DET_V_CH1 | DSM:obscon:BDC48_X:DSM_BDC_CR1_DETECTOR_READBACK_V8_F | MEDIUM | Node-to-band mapping (BDC48_X=4-8GHz) is inferred by name, not confirmed |  | BDC_4_8.c | bdc.json
DSM_BDC_4_8_DET_V_CH2 | DSM:obscon:BDC48_X:DSM_BDC_CR2_DETECTOR_READBACK_V8_F | MEDIUM |  |  | BDC_4_8.c | bdc.json
DSM_BDC_4_8_VGA | DSM:obscon:BDC48_X:DSM_BDC_VVA1_CTRL_READBACK_V8_F | LOW | VVA field exists but which of VVA1-6 maps to "VGA setting" is unclear |  | BDC_4_8.c | bdc.json
DSM_BDC_4_8_ATTN | (no match found) | NO MATCH | No ATTN-named field in BDC48_X (only VVA1-6, CR1-6, TEMP, DI); may be same as VGA/VVA |  | BDC_4_8.c | bdc.json
DSM_BDC_8_12_DET_V_CH1 | DSM:obscon:BDC_X:DSM_BDC_AR1_DETECTOR_READBACK_V8_F | LOW | BDC_X has no band name; mapped here only by elimination (4 obscon BDC nodes exist: BDC48_X, BDC1012_X, BDC1216_X, BDC_X — need Marc to confirm BDC_X = 8-12 GHz) |  | BDC_8_12.c | bdc.json
DSM_BDC_8_12_DET_V_CH2 | DSM:obscon:BDC_X:DSM_BDC_AR2_DETECTOR_READBACK_V8_F | LOW |  |  | BDC_8_12.c | bdc.json
DSM_BDC_8_12_VGA | (no match found) | NO MATCH | BDC_X has no VVA/VGA field (only AR1/AR2/AT20/AT21 attenuator fields) |  | BDC_8_12.c | bdc.json
DSM_BDC_8_12_ATTN | DSM:obscon:BDC_X:DSM_BDC_AR1_CTRL_READBACK_V8_F | LOW | Multiple attenuator fields exist: AR1, AR2, AT20, AT21 |  | BDC_8_12.c | bdc.json
DSM_BDC_10_12_DET_V_CH1 | DSM:obscon:BDC1012_X:DSM_BDC_AR1_DETECTOR_READBACK_V8_F | MEDIUM |  |  | BDC_10_12.c | bdc.json
DSM_BDC_10_12_DET_V_CH2 | DSM:obscon:BDC1012_X:DSM_BDC_AR2_DETECTOR_READBACK_V8_F | MEDIUM |  |  | BDC_10_12.c | bdc.json
DSM_BDC_10_12_ATTN | DSM:obscon:BDC1012_X:DSM_BDC_AR1_CTRL_READBACK_V8_F | LOW | Multiple attenuators exist: AR1, AR2, AT20, AT21 |  | BDC_10_12.c | bdc.json
DSM_BDC_12_16_DET_V_CH1 | DSM:obscon:BDC1216_X:DSM_BDC_CR1_DETECTOR_READBACK_V8_F | MEDIUM |  |  | BDC_12_16.c | bdc.json
DSM_BDC_12_16_DET_V_CH2 | DSM:obscon:BDC1216_X:DSM_BDC_CR2_DETECTOR_READBACK_V8_F | MEDIUM |  |  | BDC_12_16.c | bdc.json
DSM_BDC_12_16_VGA | DSM:obscon:BDC1216_X:DSM_BDC_VVA1_CTRL_READBACK_V8_F | LOW | Which of VVA1-6 is unclear |  | BDC_12_16.c | bdc.json
DSM_BDC_12_16_ATTN | (no match found) | NO MATCH | No ATTN-named field in BDC1216_X (only VVA1-6, CR1-6, TEMP, DI) |  | BDC_12_16.c | bdc.json
DSM_FRINGE_AMPLITUDE | DSM:phasemon:PHASEMON_DATA_X:CORR_AMPLITUDE_V10_D | MEDIUM | Field is a 10-element vector (one per baseline, V10) — need to pick index or aggregate |  | coherence.c | coherence.json
DSM_FRINGE_PHASE | DSM:phasemon:PHASEMON_DATA_X:RAW_PHASE_V10_D | MEDIUM | Same V10-vector issue as above |  | coherence.c | coherence.json
DSM_COHERENCE_PCT | (no match found) | NO MATCH | No direct coherence-percent field found under phasemon |  | coherence.c | coherence.json
DSM_BASELINE_M | (no match found) | NO MATCH | Baseline length in meters not found in DSM; likely a static/geometric value from telescope or antenna namespace, not phasemon |  | coherence.c | coherence.json
DSM_COHERENCE_INTEG | (no match found) | NO MATCH | No integration-time field found for coherence |  | coherence.c | coherence.json
DSM_FRINGE_TIMESTAMP | (no match found) | NO MATCH | No timestamp field under phasemon:PHASEMON_DATA_X |  | coherence.c | coherence.json
DSM_ANT{ant}_IFLO_LO_LOCK | DSM:hal9000:DSM_AS_IFLO_ANT2YIG_V2_V11_B | LOW | Field is a V11 vector (antenna-indexed within one value), not naturally a per-{ant} template point — may need array indexing support |  | iFLOMonitor.c; iFLOMonitorPage2.c; iFLOMonitorPage3.c; iFLOMonitorPage4.c | croom_iflo.json
DSM_ANT{ant}_IFLO_IF_POWER | DSM:m5:C1DC_STATUS_X:IF_POWER_V3_V9_F | MEDIUM | Field is per-downconverter (V3xV9), not simply per-antenna; needs index mapping |  | iFLOMonitor.c; iFLOMonitorPage2.c; iFLOMonitorPage3.c; iFLOMonitorPage4.c | croom_iflo.json
DSM_ANT{ant}_IFLO_LO_FREQ | DSM:hal9000:DSM_AS_IFLO_REST_FR_V2_D | LOW | Rest frequency, global not per-antenna; alternative: antenna:{ant}:lo:1:ref_109_mhz or ref_200_mhz structures |  | iFLOMonitor.c; iFLOMonitorPage2.c; iFLOMonitorPage3.c; iFLOMonitorPage4.c | croom_iflo.json
DSM_ANT{ant}_IFLO_TIMESTAMP | (no match found) | NO MATCH | No per-antenna IFLO timestamp found |  | iFLOMonitor.c; iFLOMonitorPage2.c; iFLOMonitorPage3.c; iFLOMonitorPage4.c | croom_iflo.json
DSM_ANTENNA5_TEMPS_X | DSM:hal9000:DSM_ANTENNA5_TEMPS_X | HIGH |  | x | deicemon.c | deice.json
DSM_GPS8_LOCK_STATUS | DSM:colossus:GPSD_REPORT_X:GPS8_CTL_STATUS_B | MEDIUM | Also GPS8_OUT_STATUS_B, GPS8_PHASE_FREQ_STATUS_B exist — pick correct lock indicator |  | gpsPage.c | gps.json
DSM_TRUETIME_LOCK_STATUS | DSM:m5:MRG_STATUS_X:52MHZ_LOCK_S | LOW | No TrueTime-specific field found; MRG lock status is a loose proxy |  | gpsPage.c | gps.json
DSM_GPS_AVG_PHASE_NS | DSM:colossus:GPSD_REPORT_X:GPS8_AVG_PHASE_F | HIGH |  | x | gpsPage.c | gps.json
DSM_GPS_FREQ_CTL | DSM:colossus:GPSD_REPORT_X:GPS8_FREQ_CTLR_VALUE_F | HIGH |  | x | gpsPage.c | gps.json
DSM_GPS_NEXT_LEAP | DSM:colossus:GPSD_REPORT_X:GPS8_NEXT_LEAP_SECOND_L | HIGH |  | x | gpsPage.c | gps.json
DSM_GPS8_LAT_DEG | DSM:colossus:GPSD_REPORT_X:GPS8_LAT_D | HIGH |  | x | gpsPage.c | gps.json
DSM_GPS8_LON_DEG | DSM:colossus:GPSD_REPORT_X:GPS8_LON_D | HIGH |  | x | gpsPage.c | gps.json
DSM_GPS8_ALT_FT | DSM:colossus:GPSD_REPORT_X:GPS8_ALT_F | HIGH |  | x | gpsPage.c | gps.json
DSM_GPS8_DOP | DSM:colossus:GPSD_REPORT_X:GPS8_DOP_F | HIGH |  | x | gpsPage.c | gps.json
DSM_GPS_UTC_OFFSET | DSM:colossus:GPSD_REPORT_X:GPS8_GPS_MINUS_UTC_B | HIGH |  | x | gpsPage.c | gps.json
DSM_GPS_NUM_SATS | DSM:colossus:GPSD_REPORT_X:TT_NUM_SATS_S | HIGH |  | x | gpsPage.c | gps.json
DSM_GPS_BAD_MSG_COUNT | DSM:colossus:GPSD_REPORT_X:GPS8_BAD_MSGS_B | HIGH |  | x | gpsPage.c | gps.json
DSM_AS_PROJECT_DESCRIPTION_C256 | DSM:hal9000:DSM_AS_PROJECT_DESCRIPTION_C256 | HIGH |  | x | hangarPage.c; projectpage.c | hangar.json; project.json
DSM_AS_PROJECT_PI_C30 | DSM:hal9000:DSM_AS_PROJECT_PI_C30 | HIGH |  | x | hangarPage.c; projectpage.c | hangar.json; project.json
DSM_HANGAR_LIGHT_L | DSM:colossus:DSM_HANGAR_LIGHT_L | HIGH |  | x | hangarPage.c | hangar.json
DSM_GENSET_POWER_W | (no match found) | NO MATCH | "Genset" (diesel generator) not found in DSM; DSM:colossus:PACU_INST_POWER_X:W_S / PACU_POWER_STATS_X exist but those are AC-unit power draw, not a generator — confirm terminology with team |  | genset.c | misc_dsm.json
DSM_GENSET_STATUS | (no match found) | NO MATCH | Same as above — no generator-specific field found |  | genset.c | misc_dsm.json
DSM_C1DC_POWER_LEVEL | DSM:m5:C1DC_STATUS_X:IF_POWER_V3_V9_F | MEDIUM | Field is a V3xV9 vector (downconverter x antenna); only one m5 node exists so this may need per-antenna array indexing |  | c1DC.c | misc_dsm.json
DSM_C1DC_STATUS | DSM:m5:C1DC_STATUS_X:OP_ALARM_V3_V9_S | MEDIUM | Also INPUTS_V3_V9_S exists — pick correct status field |  | c1DC.c | misc_dsm.json
DSM_YIG_FREQ_GHZ | reference:mrg:1:set_frequency | MEDIUM | Field is in Hz (int32), not GHz — needs unit conversion in display code |  | yIGFrequencies.c | misc_dsm.json
DSM_YIG_LOCK_STATUS | reference:mrg:1:yig:is_locked | HIGH |  | x | yIGFrequencies.c | misc_dsm.json
DSM_YIG_TUNE_WORD | reference:mrg:1:yig:v_tune | HIGH |  | x | yIGFrequencies.c | misc_dsm.json
DSM_SMAINIT_STATE | DSM:acc1:SMAINIT_REPORT_X:PRG_STATUS_V24_V6_L | LOW | Per-computer init report, not a single global state; exists on every acc/roach2/hal9000/oldhal/m5/phasemon/obscon node — needs a decision on which computer(s) to show |  | smainitMonitor.c | misc_dsm.json
DSM_SMAINIT_PROGRESS | (no match found) | NO MATCH | No numeric progress field; PRG_STATUS_V24_V6_L is a 24x6 status matrix, not a simple percentage |  | smainitMonitor.c | misc_dsm.json
DSM_MRG_LOCK_STATUS | reference:mrg:1:yig:is_locked | HIGH |  | x | mRG.c | mrg.json
DSM_MRG_FREQ_GHZ | reference:mrg:1:set_frequency | MEDIUM | Field is in Hz (int32), not GHz — needs unit conversion (divide by 1e9) |  | mRG.c | mrg.json
DSM_MRG_TUNE_WORD | reference:mrg:1:yig:v_tune | HIGH |  | x | mRG.c | mrg.json
DSM_MRG_PHASE_ERROR | reference:mrg:1:residue | MEDIUM | "Sub-Hertz residue to be tracked by DDS" — plausible proxy for phase error, needs Marc confirmation |  | mRG.c | mrg.json
DSM_MRG_POWER_DBM | (no match found) | NO MATCH | No dBm power reading found at the global MRG level (antenna:{ant}:lo:1:yig:rf_power exists per-antenna but this cell is not templated) |  | mRG.c | mrg.json
DSM_MRG_TIMESTAMP | (no match found) | NO MATCH | No timestamp field found for MRG status |  | mRG.c | mrg.json
DSM_AS_PROJECT_COMMENT | DSM:hal9000:DSM_AS_PROJECT_COMMENT_C256 | HIGH |  | x | projectpage.c | project.json
DSM_AS_PROJECT_ANTENNAS | DSM:hal9000:DSM_HAL_HAL_PROJECT_ANTENNAS_V11_S | HIGH |  | x | projectpage.c | project.json
DSM_AS_PROJECT_SCRIPT | DSM:hal9000:DSM_AS_PROJECT_SCRIPT_FILENAME_C256 | HIGH |  | x | projectpage.c | project.json
DSM_AS_PROJECT_SCRIPT_PID | DSM:hal9000:DSM_AS_PROJECT_SCRIPT_PID_L | HIGH |  | x | projectpage.c | project.json
DSM_AS_PROJECT_MIR_FILE | (no match found) | NO MATCH | No MIR-file field found under hal9000/oldhal |  | projectpage.c | project.json
DSM_AS_PROJECT_START_TIME | DSM:hal9000:DSM_AS_PROJECT_STARTTIME_L | HIGH |  | x | projectpage.c | project.json
DSM_AS_PROJECT_ACTIVE_TIME | DSM:hal9000:DSM_AS_PROJECT_STARTTIME_L | MEDIUM | Same field as DSM_AS_PROJECT_START_TIME above — likely redundant, consider removing one row |  | projectpage.c | project.json
DSM_HAL_HAL_LAST_CPOINT_V11_L | DSM:hal9000:DSM_HAL_HAL_LAST_CPOINT_V11_L | HIGH |  | x | rscanpage.c | rscan.json
DSM_HAL_HAL_LAST_IPOINT_V11_L | (no match found) | NO MATCH | No I-point field found; only LAST_CPOINT_V11_L and LAST_CPOINT_RX_V11_S exist — "I-point" may not be tracked separately from C-point |  | rscanpage.c | rscan.json
DSM_HAL_HAL_NIGHTLY_POINTING_S | DSM:hal9000:DSM_HAL_HAL_POLAR_PATTERN_REQUEST_S | LOW | No exact "nightly pointing" field; this is a loose guess |  | rscanpage.c | rscan.json
DSM_PHASEMON_BL1_RAW_PHASE | DSM:phasemon:PHASEMON_DATA_X:RAW_PHASE_V10_D | MEDIUM | Field is a 10-element vector over baselines (V10) — need array index for baseline 1, not a separate BL1-4 field per baseline |  | seeing.c | seeing.json
DSM_PHASEMON_BL2_RAW_PHASE | DSM:phasemon:PHASEMON_DATA_X:RAW_PHASE_V10_D | MEDIUM | Same vector, different index |  | seeing.c | seeing.json
DSM_PHASEMON_BL3_RAW_PHASE | DSM:phasemon:PHASEMON_DATA_X:RAW_PHASE_V10_D | MEDIUM | Same vector, different index |  | seeing.c | seeing.json
DSM_PHASEMON_BL4_RAW_PHASE | DSM:phasemon:PHASEMON_DATA_X:RAW_PHASE_V10_D | MEDIUM | Same vector, different index |  | seeing.c | seeing.json
DSM_PHASEMON_BL1_ATMOS | DSM:phasemon:PHASEMON_DATA_X:ATMOSPHERIC_PHASE_V10_D | MEDIUM | Same V10-vector-index issue |  | seeing.c | seeing.json
DSM_PHASEMON_BL2_ATMOS | DSM:phasemon:PHASEMON_DATA_X:ATMOSPHERIC_PHASE_V10_D | MEDIUM | Same V10-vector-index issue |  | seeing.c | seeing.json
DSM_PHASEMON_BL1_RMS_1S | DSM:phasemon:PHASEMON_DATA_X:RMS_PHASE_V10_V12_D | MEDIUM | Field is V10xV12 (10 baselines x 12 time windows) — needs both baseline AND window index |  | seeing.c | seeing.json
DSM_PHASEMON_BL1_RMS_16S | DSM:phasemon:PHASEMON_DATA_X:RMS_PHASE_V10_V12_D | MEDIUM | Same 2D array, different time-window index |  | seeing.c | seeing.json
DSM_PHASEMON_BL1_RMS_512S | DSM:phasemon:PHASEMON_DATA_X:RMS_PHASE_V10_V12_D | MEDIUM | Same 2D array, different time-window index |  | seeing.c | seeing.json
DSM_PHASEMON_VAULT_5V | DSM:phasemon:PHASEMON_HRDWR_STAT_X:POS_5V_RACK_F | HIGH |  | x | seeing.c | seeing.json
DSM_PHASEMON_VAULT_12V | DSM:phasemon:PHASEMON_HRDWR_STAT_X:POS_12V_RACK_F | HIGH |  | x | seeing.c | seeing.json
DSM_PHASEMON_VAULT_25V | DSM:phasemon:PHASEMON_HRDWR_STAT_X:POS_25V_RACK_F | HIGH |  | x | seeing.c | seeing.json
DSM_PHASEMON_VAULT_M15V | DSM:phasemon:PHASEMON_HRDWR_STAT_X:NEG_15V_RACK_F | HIGH |  | x | seeing.c | seeing.json
DSM_PHASEMON_VAULT_15VA | DSM:phasemon:PHASEMON_HRDWR_STAT_X:POS_15VA_RACK_F | HIGH |  | x | seeing.c | seeing.json
DSM_PHASEMON_VAULT_15VB | DSM:phasemon:PHASEMON_HRDWR_STAT_X:POS_15VB_RACK_F | HIGH |  | x | seeing.c | seeing.json
DSM_PHASEMON_SYNTH_LOCK | DSM:phasemon:PHASEMON_HRDWR_STAT_X:SYNTH_LOCK_B | HIGH |  | x | seeing.c | seeing.json
DSM_ROACH{roach}_TEMP_AMBIENT | DSM:obscon:ROACH2_{roach}_TEMPS_X:AMBIENT_TEMP_V8_F | HIGH |  | x | swarmPage.c | swarm.json
DSM_ROACH{roach}_TEMP_INLET | DSM:obscon:ROACH2_{roach}_TEMPS_X:INLET_TEMP_V8_F | HIGH |  | x | swarmPage.c | swarm.json
DSM_ROACH{roach}_TEMP_OUTLET | DSM:obscon:ROACH2_{roach}_TEMPS_X:OUTLET_TEMP_V8_F | HIGH |  | x | swarmPage.c | swarm.json
DSM_ROACH{roach}_TEMP_PPC | DSM:obscon:ROACH2_{roach}_TEMPS_X:PPC_TEMP_V8_F | HIGH |  | x | swarmPage.c | swarm.json
DSM_ROACH{roach}_TEMP_FPGA | DSM:obscon:ROACH2_{roach}_TEMPS_X:FPGA_TEMP_V8_F | HIGH |  | x | swarmPage.c | swarm.json
DSM_ROACH{roach}_TEMP_AGE | (no match found) | NO MATCH | No "age" field; TIMESTAMP_V8_L exists — display would need to compute age from timestamp |  | swarmPage.c | swarm.json
DSM_ANT{ant}_DDS_DELAY | (no match found) | NO MATCH | No per-antenna DDS delay found; DSM:newdds:DDS_TO_TENZING_X:GEOM_DELAY_A/B/C_V9_D are geometry-model delays, not raw DDS delay |  | swarmPage.c; dDSCursesMonitor.c | swarm.json
DSM_ANT{ant}_FPGA_DELAY | DSM:<roach2-idx>:SWARM_FIXED_OFFSETS_X:DELAY_V2_D | LOW | Field is per-SWARM-board (roach2-NN), indexed by polarization (V2) — not directly per-antenna |  | swarmPage.c; dDSCursesMonitor.c | swarm.json
DSM_ANT{ant}_SUM_DELAY | (no match found) | NO MATCH | No summed-delay field found |  | swarmPage.c; dDSCursesMonitor.c | swarm.json
DSM_ANT{ant}_WALSH | DSM:newdds:DDS_TO_HAL_X:WALSH_MOD_V11_V2_S | MEDIUM | Also WALSH_DEMOD_V11_V2_S exists — field is V11 (per-antenna) x V2 (mod/demod?) vector |  | swarmPage.c; dDSCursesMonitor.c | swarm.json
DSM_ANT{ant}_LF_LF | (no match found) | NO MATCH | No load-factor field found for SWARM under DSM |  | swarmPage.c; dDSCursesMonitor.c | swarm.json
DSM_ANT{ant}_LF_HF | (no match found) | NO MATCH | Same — no load-factor field found |  | swarmPage.c; dDSCursesMonitor.c | swarm.json
DSM_ANT{ant}_UPS_AC_INPUT_V | DSM:acc{ant}:UPS_DATA_X:AC_VOLTAGE_IN_F | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_ANT{ant}_UPS_FREQ_HZ | DSM:acc{ant}:UPS_DATA_X:AC_FREQUENCY_IN_F | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_ANT{ant}_UPS_AC_OUTPUT_V | DSM:acc{ant}:UPS_DATA_X:AC_VOLTAGE_OUT_F | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_ANT{ant}_UPS_CURRENT_A | DSM:acc{ant}:UPS_DATA_X:AC_CURRENT_OUT_F | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_ANT{ant}_UPS_POWER_W | DSM:acc{ant}:UPS_DATA_X:AC_WATTS_IN_F | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_ANT{ant}_UPS_APPOWER_VA | DSM:acc{ant}:UPS_DATA_X:AC_VA_OUT_F | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_ANT{ant}_UPS_BATT_V | DSM:acc{ant}:UPS_DATA_X:BATTERY_VOLTAGE_F | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_ANT{ant}_UPS_BATT_I | DSM:acc{ant}:UPS_DATA_X:BATTERY_CURRENT_F | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_ANT{ant}_UPS_LOAD_PCT | DSM:acc{ant}:UPS_DATA_X:LOAD_PERCENTAGE_F | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_ANT{ant}_UPS_RUNTIME | DSM:acc{ant}:UPS_DATA_X:RUN_TIME_AVAILABLE_F | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_ANT{ant}_UPS_TEMP_AMB | DSM:acc{ant}:UPS_DATA_X:AMBIENT_TEMPERATURE_F | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_ANT{ant}_UPS_TEMP_HSINK | DSM:acc{ant}:UPS_DATA_X:HEAT_SINK_TEMPERATURE_F | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_ANT{ant}_UPS_OVERLOADS | DSM:acc{ant}:UPS_DATA_X:NUMBER_OF_OVERLOADS_S | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_ANT{ant}_UPS_POWER_OUTS | DSM:acc{ant}:UPS_DATA_X:NUMBER_OF_POWER_OUTAGES_S | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_ANT{ant}_UPS_ALARMS | DSM:acc{ant}:UPS_DATA_X:ACTIVE_ALARMS_L | HIGH |  | x | upspage.c; upspage2.c; upspage3.c | ups.json
DSM_JCMT_TEMP | DSM:colossus:JCMT_METEOROLOGY_X:TEMP_F | HIGH |  | x | weather.c; weatherPage2.c | weather.json
DSM_JCMT_HUMIDITY | DSM:colossus:JCMT_METEOROLOGY_X:HUMIDITY_F | HIGH |  | x | weather.c; weatherPage2.c | weather.json
DSM_JCMT_WINDSPEED | DSM:colossus:JCMT_METEOROLOGY_X:WINDSPEED_F | HIGH |  | x | weather.c; weatherPage2.c | weather.json
DSM_SUBARU_TEMP | DSM:colossus:SUBARU_METEOROLOGY_X:TEMP_F | HIGH |  | x | weather.c; weatherPage2.c | weather.json
DSM_SUBARU_HUMIDITY | DSM:colossus:SUBARU_METEOROLOGY_X:HUMIDITY_F | HIGH |  | x | weather.c; weatherPage2.c | weather.json
DSM_UKIRT_TEMP | DSM:colossus:UKIRT_METEOROLOGY_X:TEMP_F | HIGH |  | x | weather.c; weatherPage2.c | weather.json
DSM_TAU225_GFS | weather:forecast:gfs:tau225 | HIGH |  | x | weather.c; weatherPage2.c | weather.json
DSM_ANT{ant}_SKYDIP_AGE | (no match found) | NO MATCH | No per-antenna skydip-age field found in DSM |  | weather.c; weatherPage2.c | weather.json
DSM_ANT{ant}_TAU_FREQ | (no match found) | NO MATCH | No per-antenna tau-at-frequency field found |  | weather.c; weatherPage2.c | weather.json
DSM_ANT{ant}_TAU225 | (no match found) | NO MATCH | ANT_WEATHER_DATA_X (per-antenna, V9) has HUMIDITY/PRESSURE/TEMPERATURE only, not tau225 — no real candidate found |  | weather.c; weatherPage2.c | weather.json